## Sheet2
P252 Location I & J
SL .No | Description | Quantity | Unit | Unit Price | Total Price
|  |  |  | (SGD) | (SGD)
Fire detection system
1 | Fire Alarm Master Panel | 2 | Set
Model:
2 | Intelligent Photoelectric Smoke Detector with Base | 34 | Nos
Model:
3 | Addressable Manual Call Point | 14 | Nos
Model:
4 | Horn & Strobe (wall mounted) | 22 | Nos
Model:
5 | Supervised Output Module : | 6 | Sets
Model:
6 | Power Supply | 2 | Sets
Model:
7 | Commissioning of the whole system |  | Man day
1 Hochiki And 1 Zicom Engineer
App 3 days per panel
Service Charges (Optional)
8 | Supervision of cable laying charges | TBA |  | 4000 Taka
9 | Installation of sensors and panels charges |  |  | 3000 Taka
Locally
SL .No | Description | Quantity | Unit | Unit Price | Total Price | Remarks | Brand
|  |  |  | (BDT) | (BDT)
10 | Flame Retardant Signal Cable for initiating circuit and notification appliance |  | Meter | 23.42 |  | Red & Black | Paradise Cable Ltd
| 1C X 1.5mm2 | [5 empty] | BYA 1X1.5RM(FR)
11 | Power Cable for Fire & Annunciator Panel |  | Meter | 184.57 |  |  | Paradise Cable Ltd
| 3CX2.5mm2 (Non-Armored) | [5 empty] | NYY 3X2.5RM
12 | 20A MCB |  | No | 2000
13 | Accessories for Cable Laying
14 | 3/4 inch PVC Pipe |  | Meter | 20 |  |  | Electric pipe
15 | 3/4 inch hose pipe |  | Meter | 30
16 | Socket |  | Nos | 25
17 | Elbow |  | Nos | 30
18 | Sedel |  | Nos | 12
19 | 1” Screw |  | Dozen | 17
20 | Royal Plug |  | Packet | 14
21 | Transportation Cost